| MEMO | Department of Place Building Control Britannia House Hall Ings Bradford BD1 1HX From: Martin Lumb Tel: (01274) 433740 Fax: (01274) 391206 Minicom: (01274) 392613 My Ref: D/TDP/3100/ML Your Ref: 16/06681/SUB01 Date: 11 September 2017 |
| --- | --- |
| To: Development Services Fao: Mark Hutchinson |  |

TOWN PLANNING APPLICATION NO:-  16/06681/SUB01

PROPOSAL:-  Submission of details re. planning permission 16/06681/ful dated 07.10.2016 (further to appeal allowed re. APP/W4705/W/17/3171740) ref. conditions 3 and 4 - re. construction of detached dwelling and garage

LOCATION:-  Beechwood 18 The Orchards Bingley West Yorkshire BD16 4AZ

With reference to the above application I list below the drainage conditions which are appropriate.

I confirm the drainage proposals indicated on drawings 208/4 & 208/5 are acceptable in principle for this development, however, Planning Condition 4 should not be discharged until the developer has submitted the results of percolation tests (conducted in accordance with Building Research Establishment Digest No 365) and subsequent design details (also in accordance with Building Research Establishment Digest No 365), to this council for comment.