| MEMO | Department of Regeneration Building Control Britannia House Hall Ings Bradford BD1 1HX From: Martin Lumb Tel: (01274) 433740 Fax: (01274) 391206 Minicom: (01274) 392613 My Ref: D/TDP/3100/ML Your Ref: 16/06681/FUL Date: 18 August 2016 |
| --- | --- |
| To: Development Services Fao: Mark Hutchinson |  |

TOWN PLANNING APPLICATION NO:-  16/06681/FUL

PROPOSAL:-  Construction of detached dwelling and garage

LOCATION:-  18 The Orchards Bingley West Yorkshire BD16 4AZ

With reference to the above application I list below the drainage conditions which are appropriate.

I note it is the developer's intention to dispose of excess surface water from the rainwater harvesting system using a soakaway. This is acceptable subject to the developer providing the results of percolation tests (conducted in accordance with Building Research Establishment Digest No 365) and subsequent design details (also in accordance with Building Research Establishment Digest No 365), to this council for comment, prior to surface water drainage works commencing on site.

Due to the topography of the site, the proposed soakaway must be designed & constructed to ensure ground stability is maintained & the possibility of surface water springing at a lower elevation is prevented.